Imaging Options-Key Features

	
	NuanceTM 
	VectraTM 
	AQUATM (HistoRx))

	Company Link to Description
	http://www.perkinelmer.com/Catalog/Product/ID/NUANCEFX
	http://www.perkinelmer.com/Catalog/Category/ID/Vectra 
	http://www.historx.com/technology/software_instrumentation.html 

	Brightfield (BF) Fluorescence(Fl)
	BF, Fl
	BF, FL
	FL

	Slide scanning
	Manual
Single slide capacity
	Automated
 200 slide capacity
	Manual
Single slide capacity

	Multiplexing analysis
	Up to 14 channels
	Up to 14 channels
	Up to 4 channels

	Auto-Fl. removal
	Yes
	Yes
	No

	Spectral Library
	Yes
	Yes
	No

	Analysis Software
	Nuance and inForm
	Nuance and InForm
	AQUA algorithm

	Data Format
	Ordinal & Continuous
	Ordinal & Continuous
	Ordinal & Continuous

	Suggested Applications: 











	Biomarker quantification
*
Co-localization & quantification
* 
Per-tissue analysis (epith. vs. stroma)
* 
Subcellular quantification
*

Per-cell data
*

Tissue structure (vessel, glomerulus, etc) counting
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	Biomarker quantification 
*
Per-tissue analysis (epith.vs. stroma)
*

Subcellular quantification
* 
Per-cell data
*

Tissue structure (vessel, glomerulus, etc) counting


